SUPPLY OF DESIGN, PLAN AND MATERIALS FOR SALT STORAGE BUILDING

# DESCRIPTION OF WORK:

Furnish and deliver to the Owner all components for one (1) pre-engineered salt storage building in accordance with these specifications. The supplier shall furnish all materials, detail design calculations, and working drawings necessary to erect the building. The Owner shall contract separately for the field erection of the building.

# DELIVERY AND SHIPMENT:

All materials shall be delivered to the Owner within eight (8) to twelve (12) weeks after award of contract. Supplier shall contact the Owner  seven (7) days prior to delivery so that arrangements can be made to receive the materials.  The Trucking Company shall give at least 24 hours notice of the exact delivery date and time.

All components are to be bundled by the supplier for ease of unloading.  Each bundle shall be adequately labeled for easy identification during erection.

# FIELD ASSEMBLY:

Materials furnished shall be pre-cut to fit properly and suitably marked to require the least amount of fieldwork.

Correction of minor misfits and a reasonable amount of cutting will be considered a legitimate part of erection.  Any error in shop work which prevents the proper assembling and fitting of the parts with a moderate amount of remaining short or slight cutting, shall be immediately reported to the supplier for correction at no expense to the Owner.

WORKING DRAWINGS AND LIST OF MATERIALS:

The bidder shall prepare working, shop drawings, erection diagrams, and a material list as required to show the proper construction of the building.  All working drawings shall be signed and sealed by an architect or professional engineer registered in the State of XXXXXXXX.  A total of two copies each of the working drawings and material lists shall be submitted with the bidder's bid.

The material list shall include description, type of material, size and quantity for all items to be furnished.  These items shall include, but not limited to, treated timber posts, planks, doors, ridge and eave boards, structural braces and miscellaneous structural members; and untreated timber roof trusses, purlins, plywood and louvers; and asphalt felt, roof shingles, half-lap roll roofing, field treatment preservative, door hardware, nails, bolts, washers, spikes, cable, cable-clamps, and any other items needed for the building. The vendor at no cost to the Owner shall furnish any item omitted from the list of materials and required during construction to complete the building.  It should be distinctly understood that failure to mention any items that would normally be required to complete the building shall not relieve the supplier of his responsibility to furnish such items.

PAYMENTS:

Payments under this contract shall be in accordance with the following terms:

Initial Payment - 100% of the total bid price to be paid 15 days after delivery date.

Winning bidder's bid bond or certified check of 5% will be retained until a Performance Bond is submitted.  It should be noted that all missing and defective parts shall be replaced, and all misfits and erection problems caused by faulty shop work shall be corrected to the Owner’s satisfaction before performance bond is released.

ITEMS NOT PART OF THIS CONTRACT:

Temporary erection braces

Lighting

Roof drains and downspouts

Bituminous or concrete paving

Site preparation

Labor or equipment to erect building